## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000011 | OXY-10 ST | SABD0002000011 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY1 | O2 | 104940808 | PSt7-10 | 171027-000 | 0000-00 | 2018-06-22 13:22

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY1 (PSt7-10) | 2018-06-27 09:56 | 55.68 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.383
Exported at | 2018-08-01 17:10

## SABD0002000011, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
2054525 | 2018-08-01 17:10 | 299.6679 | OXY1 (PSt7-10) | 2018-06-27 09:56 | default | 189.2694 | μmol/L | 27.2277 | °C | 1025 | hPa | Humid | 36 | 1 | 0 | 21.512 | 103139.101 | 260056.2926 | 57.0301 | 20.1
2054526 | 2018-08-01 17:10 | 299.6906 | OXY1 (PSt7-10) | 2018-06-27 09:56 | default | 189.3361 | μmol/L | 27.2277 | °C | 1025 | hPa | Humid | 36 | 1 | 0 | 21.508 | 103116.5494 | 260018.5676 | 57.0301 | 20.1
2054527 | 2018-08-01 17:10 | 299.7066 | OXY1 (PSt7-10) | 2018-06-27 09:56 | default | 189.3528 | μmol/L | 27.2277 | °C | 1025 | hPa | Humid | 36 | 1 | 0 | 21.507 | 103085.2166 | 259984.9972 | 57.0301 | 20.1
2054528 | 2018-08-01 17:10 | 299.7236 | OXY1 (PSt7-10) | 2018-06-27 09:56 | default | 189.335 | μmol/L | 27.2338 | °C | 1025 | hPa | Humid | 36 | 1 | 0 | 21.506 | 103087.4199 | 259967.8718 | 57.0301 | 20.1
2054529 | 2018-08-01 17:10 | 299.7405 | OXY1 (PSt7-10) | 2018-06-27 09:56 | default | 189.3528 | μmol/L | 27.2277 | °C | 1025 | hPa | Humid | 36 | 1 | 0 | 21.507 | 103100.1939 | 259959.2298 | 57.0301 | 20.1
2054530 | 2018-08-01 17:10 | 299.7573 | OXY1 (PSt7-10) | 2018-06-27 09:56 | default | 189.2861 | μmol/L | 27.2277 | °C | 1025 | hPa | Humid | 36 | 1 | 0 | 21.511 | 103089.2229 | 259955.4789 | 57.0301 | 20.1
2054531 | 2018-08-01 17:10 | 299.7733 | OXY1 (PSt7-10) | 2018-06-27 09:56 | default | 189.3528 | μmol/L | 27.2277 | °C | 1025 | hPa | Humid | 36 | 1 | 0 | 21.507 | 103076.9891 | 259939.5804 | 57.0301 | 20.1
2054532 | 2018-08-01 17:10 | 299.7901 | OXY1 (PSt7-10) | 2018-06-27 09:56 | default | 189.3872 | μmol/L | 27.2216 | °C | 1025 | hPa | Humid | 36 | 1 | 0 | 21.507 | 103068.8641 | 259920.406 | 57.0301 | 20.1
2054533 | 2018-08-01 17:10 | 299.8069 | OXY1 (PSt7-10) | 2018-06-27 09:56 | default | 189.2694 | μmol/L | 27.2277 | °C | 1025 | hPa | Humid | 36 | 1 | 0 | 21.512 | 103071.959 | 259918.7393 | 57.0301 | 20.1
2054534 | 2018-08-01 17:10 | 299.8238 | OXY1 (PSt7-10) | 2018-06-27 09:56 | default | 189.3538 | μmol/L | 27.2216 | °C | 1025 | hPa | Humid | 36 | 1 | 0 | 21.509 | 103065.3844 | 259915.7053 | 57.0301 | 20.1
2054535 | 2018-08-01 17:10 | 299.8406 | OXY1 (PSt7-10) | 2018-06-27 09:56 | default | 189.235 | μmol/L | 27.2338 | °C | 1025 | hPa | Humid | 36 | 1 | 0 | 21.512 | 103069.3037 | 259912.431 | 57.0301 | 20.1
2054536 | 2018-08-01 17:10 | 299.8566 | OXY1 (PSt7-10) | 2018-06-27 09:56 | default | 189.3694 | μmol/L | 27.2277 | °C | 1025 | hPa | Humid | 36 | 1 | 0 | 21.506 | 103069.2166 | 259903.6125 | 57.0301 | 20.1
2054537 | 2018-08-01 17:10 | 299.8734 | OXY1 (PSt7-10) | 2018-06-27 09:56 | default | 189.2694 | μmol/L | 27.2277 | °C | 1025 | hPa | Humid | 36 | 1 | 0 | 21.512 | 103073.8314 | 259905.4394 | 57.0301 | 20.1